### MQTT for Teleoperation

#### Pros

- Lightweight and Efficient:

  - MQTT is designed for low-bandwidth networks, making it efficient for cloud-based communication.

- Scalable:

  - Supports multiple clients and allows control of multiple robots simultaneously.

- Real-Time Communication:

  - MQTT provides low latency for teleoperation, ideal for responsive control.

- Quality of Service (QoS):

  - Different levels of QoS ensure reliable message delivery (important for critical rehab tasks).

- Cloud Compatibility:

  - Easily integrates with cloud services (e.g., AWS IoT, Google Cloud IoT).

- Decoupled Architecture:

  - Publishers and subscribers are independent, allowing flexibility in system design.

- Topic-Based Communication:

  - Enables specific control of individual robots using topic hierarchies.

#### Cons

- Latency in Network Issues:

  - Dependence on internet connectivity could cause delays in commands.

- Security Concerns:

  - MQTT is not inherently secure. Requires additional measures like TLS encryption and robust authentication to prevent unauthorized access.

- Complexity in Real-Time Control:

  - Fine-grained real-time control may be harder to achieve compared to local solutions.

- Message Overhead in Large-Scale Deployments:

  - Large numbers of messages could lead to bandwidth saturation, especially with high-frequency updates.

- Limited Local Fallback:

  - If connectivity is lost, teleoperation is disrupted unless local fallback mechanisms are implemented.

### Current-Based Position Control Mode

This control mode uses current feedback to maintain a specific torque, ensuring smooth and accurate motion for wrist extension/flexion.

#### Pros

- Precise Force Control:

  - Provides fine-grained control of torque, which is crucial for rehabilitation where gradual force adjustments are needed.

- Smooth Motion:

  - Minimizes jerkiness, providing a safer and more comfortable experience for patients.

- Load Adaptability:

  - Automatically adjusts based on the resistance encountered, suitable for adaptive rehab protocols.

- Reduced Motor Stress:

  - Prevents overloading and extends the life of the motor by optimizing torque usage.

- Patient Safety:

  - Limits the force applied, reducing the risk of injury during rehab.

- Feedback for Progress Monitoring:

  - Provides valuable data about patient progress, such as resistance levels and range of motion.

#### Cons

- Complex Calibration:

  - Requires precise tuning of current control parameters to prevent inaccuracies.

- Higher Processing Demands:

  - Feedback loops for current control can place additional processing requirements on the Raspberry Pi or motor controller.

- Sensitivity to Noise:

  - Current measurements can be affected by electrical noise, requiring robust filtering.

- Limited Speed Control:

  - Focus on force rather than speed may not be suitable for fast or dynamic motions.

- Wear and Tear:

  - Prolonged operation at high currents can lead to increased heat and wear on motor components.

- Firmware Dependence:

  - Requires specific firmware settings in the Dynamixel motor, which might limit flexibility for other control modes.